[image: image2.png]DAWSON CO.

EEEEEEEEEEEEEEEEEEEEEEEEEEE





Main Office & Warehouse
1681 W. Second St.
Pomona, CA  91766 
Tel: 626-797-9710  Fax: 626-798-4659
WWW.DAWSONCO.COM

Heat Exchanger Pre-Startup Checklist
	Technician’s Name:      
	Date:       

	Unit Tag Number:       

	Unit Application:       


	Item:
	Checked?
	Initials

	Isolation valves provided:
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Inlet hot side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Outlet hot side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Inlet cold side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Inlet hot side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Clearance: Provide for tube removal
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Thermometers installed:
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Inlet hot side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Inlet cold side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	
	- Out cold side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Vacuum breaker installed (steam to water only)
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Unit supported correctly, no evidence of piping strain
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Foundation bolts loosen one end for shell expansion
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Temperature control valve installed
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Temperature control valve bypass provided
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Proper sized steam trap provided
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Steam trap bypass installed
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Steam trap Y-strainer installed
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Steam trap installed 18” below outlet of unit
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Condensate piping pitch downward with no upward lifts
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Condensate piped to condensate receiver
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	System flushed and clean
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	System vented and primed
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Drain connection provided shell side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	

	Drain connection provided tube side
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No
	


[image: image1.png]



Form#: DC-002-SVC-001

